## Slide 1: From the Bedside to the Benchside: An Introduction to Bench Research March 14, 2017

## Slide 2: The Feinstein Institute for Medical Research – Northwell Health / Manhasset Campus
Mabel N. Abraham, PhD
  Research Scientist
    Pediatric Research Lab
Julien Papoin, MS
  Research Associate
    Pediatrics Hematology/Oncology Lab
Champa N. Codipilly, PhD
  Assistant Investigator
    Lilling Family Neonatal Research Lab

## Slide 4: Lab Bench Research
Assays and Instruments
Analyzing Biological Matrices:
    Biological Fluids
      Saliva
      Whole Blood
      Urine
      Stools
    Cells/Tissues
  Analyzing Bacteria
  Analyzing Genetic Material: DNA/RNA

## Slide 5: Analyzing Biological Matrices
Cell Number Analysis
  Whole Blood
    Complete Blood Counts
Measure Protein Abundance
  Whole Blood
    Serum
    Plasma
  Urine
  Cells/Tissue
RNA/DNA Analysis
  Whole Blood
  Cells/Tissue
  Bacteria

## Slide 6: Measurement of Cytokine Levels
Changes in circulating cytokine and chemokine levels
  Associated with many human diseases, and thus understanding the relationships between these changes and disease is an important area of medical research.
Following collection, plasma or serum should be cryopreserved at -80º C.
Cytokines and chemokine levels can be measured by ELISA.

## Slide 7: Measurement of Cytokine Levels – ELISA - Enzyme-Linked Immunosorbant Assay
1. Antigens coated onto the ELISA plate.
2. Serum/sample containing primary antibodies is added.
3. Non-antigen binding antibodies are washed off the plate.
4. Secondary antibody-conjugated with an enzyme is added.
5. Excess secondary antibody is washed off the plate.
6. Substrate for the enzyme (chromogen) is added.
7. Enzyme reacts with the substrate, producing color. Color intensity correlates with level of antigen binding.
Primary Antibody
Secondary Antibody
Chromogen

## Slide 8: Multiplex ELISA using Meso Scale Discovery (MSD)
MSD’s spot patterns are the hallmark of its MULTI-ARRAY technology – biomarker detection in single and multiplex formats.
Electrochemiluminecence -SULFO-TAG labels - emit light upon electrochemical stimulation initiated at the electrode surfaces.

## Slide 9: ELISA versus MSD
Customizable assay to test for many cytokines in a single volume of sample.
MESO QuickPlex SQ 120

## Slide 10: Measure Protein Abundance in Cells/Tissue
Total cells/tissue lysates.
Denatured protein is electrophoresed and separated based on size in a gel matrix.
Proteins are transferred to a membrane, blocked and probed with an antibody specific for interested protein targets.
Identify protein expression level changes using Immunoblot Analysis also known as Western Blot.

## Slide 11: Western Blot workflow
SDS Polyacrylamide Gel Electrophoresis (SDS -PAGE)
Electrophoresis
Membrane Transfer
Western Blot Image
Antibody Signal Target

## Slide 12: Total RNA Preparation from Bacteria, Cells/Tissue or Whole Blood
Applications
  RNA Sequencing
  Quantify Gene Expression - QPCR
Spin Column Technology

## Slide 13: Analyzing CBC’s in Whole Blood
BLOOD
MOUSE MODEL OF DISEASE
Example of Anemia
What causes it?

## Slide 14
Analyzing Specific Cell Populations Using Flow Cytometry
Antibody Labeled Cells
CELL
Fortessa – Flow core Facility - 2d Floor
Size (FSC)
Fluorescence Intensity

## Slide 15
Filtration to
single cell
suspension
Sample Preparation
-Counting Cells Using Hemocytometer-
10uL transferred to Hemocytometer
#.106 cells/mL

## Slide 16
Isolating Cell Populations Using Magnetic Depletion
lymphoid
Example: Lymphoid cells depletion with the CD45 marker
Erythroid cells
Ratio beads / number of cells

## Slide 17
Take 1.106 Cells into a microtube
Add Fluorophore conjugated Antibodies and Incubate
Wash
Transfer to Flow cytometry tube
Use with flow cytometer
Flow Cytometry
-Antibody Labeling-
Cell
Antibodies

## Slide 18: Example: Anemia in a septic mouse
CLP MOUSE
BLOOD
Erythroid precursors Antibody Staining
(Ter119 -/ CD44+)
Flow cytometry
Homogenization
Myeloid cells depletion (anti CD45 Beads)
Cell
counting
Spleen
Bone Marrow

## Slide 19
Flow Cytometry Results
-Quantifying Cell Populations-
Example: Anemia in a septic mouse.
More late RBC precursors
Less RBC
CD44
FSC
I
II
III
IV
V
Presence of
RBC precursors
Less RBC
Serum HMGB1 protein increased in CLP animals.
Injection in healthy animals causes same symptoms.

## Slide 20
Flow Cytometry
Cell Lysate for protein extraction
Western Blot (Cellular Pathway affected)
Similar results as the mouse
DNA Sequencing
Unknown Gene expression affected ?
RNA extraction
QPCR (Pathway affected at the Transcript level)
In-vitro cultured Human Cells
Example : Effect of HMGB1 on erythropoiesis
Cultured human HSPCs with
human recombinant HMGB1

## Slide 21
Reverse Transcription
Gene Expression Analysis
- Transcriptional level: QPCR -
SYBR Green
cDNA
Fluorescence
Amplification
Cycles
Real time monitoring of the reaction

## Slide 22
QPCR – Real time quantification of mRNA transcription levels
High abundance of
transcript in the cells
Low abundance of
transcripts in the cells
(more cycles required
to obtain an amplification)
Gene Expression Analysis
- At the Transcriptional level: QPCR -
1
32

## Slide 23: Methods to identify Bacteria
Culture based
  Using agar plates/broth
Non-culture based
  PCR –an end point result
  QPCR – relative expression (between two samples)
  DNA Sequencing (to study individual genes, full chromosomes or entire genomes. Also provides the order of individual nucleotides present in molecules of DNA or RNA

## Slide 24: Culture vs. non-Culture
Culture based
  Absolute number
    Colony Forming Units/mL (CFU/mL or CFU/g)
    eg: 2x106 CFU/mL of lactobacilli in human milk
Non-culture based
  Prevalence of a specific organism
  Ratios
  In QPCR, fold change or an increase or a decrease of the target molecule
  ***Whether dead or alive, DNA can be extracted

## Slide 25: Culture Techniques Bacteria plating

## Slide 26: Culture Techniques Bacteria plating

## Slide 27: Cultivating bacteria
Selective medium agar plates/broth are used for specific bacteria identification
Agar plates/broth need to be incubated at a certain temperature
For most bacteria it is 370 C
  Aerobically (usually with 5% CO2) or Anaerobically (in jars)
  After the incubation period
    colonies are counted and colony forming units (CFU/mL or CFU/g) will be calculated
    Gram stain is used for morphological identification
  Biochemical tests are carried out to identify different species
Incubator

## Slide 28: Illustrations
Agar plate with colonies
Gram negative stain
Gram Positive stain
GROWTH
STAINING

## Slide 29: Non Culture Techniques
PCR/QPCR (polymerase Chain Reaction/ Quantitative Polymerase Chain Reaction)
Sequencing
  For both techniques DNA need to be extracted, and isolated
  Different DNA extraction kits are available depending on the source (eg: stools, saliva)
  Concentration of the DNA will be measured
  PCR will be carried out to differentiate bacterial and Human DNA and for differentiate species
27 CNC

## Slide 30: DNA Isolation and Purification from stools/saliva or any source

## Slide 32
Thermal Cycler for PCR

## Slide 34: Agarose Gel Electrophoresis

## Slide 35: DNA Sequencing
This PCR product is used for sequencing
Sequencing will be done at the genomic lab in Feinstein
  Illumina Next-Gen sequencing machine

## Slide 36
Thank You
Questions?
References or citations for images and data within this presentation are available upon request.

## Slide 37: Contact Us:
Mabel N. Abraham, PhD
  Mabraham11@northwell.edu
Champa N. Codipilly, PhD
  Ccodipil@nothwell.edu
Julien Papoin, MS
Jpapoin@northwell.edu